Substation energisation checklist

June 2024

| Project title |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Project reference |  |  |  |  |  |
| Form completed by |  |  |  |  |  |
| Company “ICP” |  |  |  |  |  |
| Position/job title |  |  |  |  |  |
| Signature |  |  |  |  |  |
| Date |  |  |  |  |  |
| General Requirements |  | Yes | No | n/a | Refer to notes/photos |
| Legals completed |  |  |  |  |  |
| Countersigned BCA or BTS received |  |  |  |  |  |
| MPAN issued and meter installation arranged |  |  |  |  |  |
| Substation locks and signage received and installed |  |  |  |  |  |
| Protection settings installed and recorded |  |  |  |  |  |
| Switching schedule submitted and approved by mua |  |  |  |  |  |
| Photos of completed installation |  |  |  |  |  |
| Access Arrangement |  | Yes | No | n/a | Refer to notes/photos |
| Access road and parking spaces to substation has been constructed to the approved design |  |  |  |  |  |
| Transformer and Switchgear delivery can be via HIAB |  |  |  |  |  |
| 24-hour access arrangements are in place |  |  |  |  |  |
| Substation Compound |  | Yes | No | n/a | Refer to notes/photos |
| Substation has been located to the approved design |  |  |  |  |  |
| Substation has been orientated to approved design |  |  |  |  |  |
| Foundations have been cast to the approved design |  |  |  |  |  |
| All formwork has been fully removed |  |  |  |  |  |
| Substation is free from all builder’s debris |  |  |  |  |  |
| Substation is fully sealed watertight |  |  |  |  |  |
| Substation is securable post energisation |  |  |  |  |  |
| Substation door size is to the approved design |  |  |  |  |  |
| Substation ventilation is to the approved design |  |  |  |  |  |
| Substation cable pit is fully sanded to required level |  |  |  |  |  |
| Hv/LV Cables are routes as per the approved design |  |  |  |  |  |
| Cables are installed to the correct depth, backfilled and with correct warning and marker tapes |  |  |  |  |  |
| Ducting system |  | Yes | No | n/a | Refer to notes/photos |
| All ducting system are sealed and secured properly |  |  |  |  |  |
| Quantity, location, and type of ducting have been installed to the approved design |  |  |  |  |  |
| GRP/Brick Build enclosure |  | Yes | No | n/a | Refer to notes/photos |
| GRP/Brick Build enclosure size and specifications to the approved design |  |  |  |  |  |
| Finish colour/Brick type and texture is to the approved design |  |  |  |  |  |
| GRP enclosure has been secured to the plinth via the fixing brackets and sealed |  |  |  |  |  |
| Small power and lighting |  | Yes | No | n/a | Refer to notes/photos |
| Small power and lighting have been installed to the approved design |  |  |  |  |  |
| All conduit is self-extinguishing heavy-duty PVC |  |  |  |  |  |
| Testing certificate is present (copy retained) |  |  |  |  |  |
| Earth system |  | Yes | No | n/a | Refer to notes/photos |
| Earth system, robs, clamps, conductors has been installed to the approved design |  |  |  |  |  |
| Earth test certificate submitted to mua and readings satisfactory |  |  |  |  |  |
| Substation doors, door frames, vents and other exposed metalwork are all earthed and connected to the marshalling bar |  |  |  |  |  |

Once you’ve completed all the following sections, please return your form and supporting information to energisation@muagroup.co.uk.

| Notes |  |
| --- | --- |
| Attached photo number | Photo description |
| 1 | Substation signage |
| 2 | Substation earth bar and rebar connections |
| 3 | Substation plinth |
| 4 | Substation doors |
| 5 | Substation internal |
| 6 | Substation external |
| 7 | HV sheath test result |
| 8 | HV cable insulation resistance result |
| 9 | Substation access |
| 10 | LV and HV earth link |
| 11 | Metering terminations |
| 12 | GRP grating |
| 13 | Labelled distribution board |
| 14 | Isolation transformer (if applicable) |
| 15 | Cable installation (sand, installed cable, tape) |