Substation Switching Schedule

|  | Switching and Control Log |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Project details |  |  |  |  |  |  |
| Location |  |  |  |  | Schedule No. |  |
| ICP Project Reference No. |  |  | MUA Network Reference |  |  |  |
| Prepared By |  |  | Date |  | For ICP/IDNO |  |
| Approved By | Luay Elia |  | Date |  | For ICP/IDNO | MUA |
| Schedule of Operations |  |  |  |  |  |  |
| Operation Number | Time |  |  | Location | Detail | Operator |
|  | Instruct | Action | Report |  |  |  |
| 1 |  |  |  | Substation 2 | Confirm Substation 2 switch 2 open, locked & caution notice |  |
| 2 |  |  |  | Substation 2 | Confirm Substation 2 Transformer 2 CB open |  |
| 3 |  |  |  | Substation 1 | Confirm Substation 1 Transformer 1 CB open |  |
| 3.1 |  |  |  | Substation 1 | Confirm Substation 1 Swtich 1 is Open |  |
| 4 |  |  |  | Substation 1 | Close SPEN POC 2 FMS |  |
| 4.1 |  |  |  | Substation 1 | Close Substation 1 Swtich 1 |  |
| 5 |  |  |  | Substation 1 | Close Transformer 1 CB |  |
| 6 |  |  |  | Substation 1 | Confirm LV voltage & phase rotation |  |
| 7 |  |  |  | Substation 2 | Close Transformer 2 CB |  |
| 8 |  |  |  | Substation 2 | Confirm LV voltage & phase rotation |  |
| Completed By |  |  | Date /Time |  | Signed |  |